## Project Notes
Spreadsheet name: |  | Lake Loading Response Model_LLRM_ver2015.xls
Program name/version: |  | Excel 2007
Project name:
Project number:
Date created: |  | 2013-10-05
Created by:
QA date and initials:
Description
Record of changes and updates:
Date | Made by | Comment
2011-12-01 | DWK | added Nurnberg model to empirical lake models in Calculations sheet and Predicted WQ table
2013-10-06 | DWK | Nitrogen routine added to model
2014-08-21 | DWK | added NH chlor a model to template Trowbridge, Phillip. 2009. Assessment of Chlorophyll-a and Phosphorus in New Hampshire Lakes for Nutrient Criteria Development., New Hampshire Department of Environmental Services, Concord, NH. Pub. No. R-WD-09-29
2016-04-21 | DWK | changed calc of max chlor to reflect average of model values for Chlor a
2016-07-13 | DWK | added Johnes coefficient Table to reference variables tab
2016-09-26 | DWK | repaired bloom probability table -calc of z statistic was incorrectly calling on wrong cell.
2016-10-07 | DWK | repaired runoff P table to pick up several land use categories
2017-09-29 | DWK | Added table titles to automatically generated tables
2019-03-26 | DWK | Added examples of maps, tables and graphics
Worksheets
Sheet name | Created | Description of contents
Reference Variables | 2009-07-01 | Reference variables and sources
Calculations | 2009-07-01 | Watershed Export Model Input and Calculations
Predictions | 2009-07-01 | Predicts In-lake Water Quality Parameters
Variable Sources and Assumptions
Variable name | Unit | Source

## Reference Variables
EXPORT MODEL VARIABLES AND INPUT RANGES
|  | For Northeast United States | [8 empty] | APPLICATION NOTES
HYDROLOGIC VARIABLE | DESCRIPTION | HIGH | MEDIUM | LOW |  | SOURCE
Standard Water Yield | Rate of water yield in CFSM by watershed | 2 | 1.7 | 1.5 |  | Sopper and Lull 1970, Higgins and Colonell 1971 |  |  |  |  | Increases with increasing runoff; range will vary substantially by region; NE range shown
Precipitation | Annual rainfall in meters | 1.53 | 1.14 | 0.81 |  | NOAA Precipitation Records through 2008 |  |  |  |  | Range will vary substantially by region; NE range shown. Also, while values will vary by year, model is focused on longer term, steady state conditions
Runoff Coefficient | Portion of rainfall converted to overland flow | 0.95 | 0.4 | 0.1 |  | Dunn and Leopold 1978 |  |  |  |  | Increases with steeper slope and lowered permeability
Baseflow Coefficient | Portion of rainfall converted to baseflow | 0.4 | 0.2 | 0.01 |  | Dunn and Leopold 1978 |  |  |  |  | Increases with flatter slope and higher permeability
Atmospheric Deposition | phosphorus added directly to lake surface (kg/ha/yr) |  | 0.11 |  |  | Schloss, Jeffrey A. and Robert C. Craycraft. 2013. Final Report: Newfound Lake Water Quality Modeling: September 2013. UNH Center for Freshwater Biology, UNH Cooperative Extension and UNH Center for Freshwater Biology, University of New Hampshire. Durham, NH. CFB Report # 2013-09-DES-02.
PHOSPHORUS AND NITROGEN EXPORT COEFFICIENTS FOR RUNOFF
|  | PHOSPHORUS EXPORT (KG/HA/YR) |  |  |  |  | NITROGEN EXPORT (KG/HA/YR)
LAND USES |  | MAXIMUM | MEAN | MEDIAN | MINIMUM | SOURCE | MAXIMUM | MEAN | MEDIAN | MINIMUM
Urban 1 (LDR) | Low density residential (>1 ac lots) | 6.23 | 1.91 | 1.1 | 0.19 | Omernik 1976, Reckhow et al. 1980, Frink 1991, Sharpley et al. 1992, Line et al. 1998, Clark et al. 2000, Rohm et al. 2002, unpublished AECOM data | 38.47 | 9.97 | 5.5 | 1.48 | All urban lands given same range; differences between and within them result from differences in lawn area (increased coeff with increased lawn area), fertlizer use (increased coeff with increased use, tends to be linked to lawn area), soils (increased coeff with less permeable soils), slope (increased coeff with increased slope), and application of local BMPs (decreased coeff with LID technique application or fertilizer regulations).
Urban 2 (MDR/Hwy) | Medium density residential (0.3-0.9 ac lots) + highway corridors | 6.23 | 1.91 | 1.1 | 0.19 |  | 38.47 | 9.97 | 5.5 | 1.48
Urban 3 (HDR/Com) | High density residential (<0.3 ac lots) + commercial | 6.23 | 1.91 | 1.1 | 0.19 |  | 38.47 | 9.97 | 5.5 | 1.48
Urban 4 (Ind) | Industrial | 6.23 | 1.91 | 1.1 | 0.19 |  | 38.47 | 9.97 | 5.5 | 1.48
Urban 5 (P/I/R/C) | Park, Institutional, Recreational or Cemetery | 6.23 | 1.91 | 1.1 | 0.19 |  | 38.47 | 9.97 | 5.5 | 1.48
Agric 1 (Cvr Crop) | Agricultural with cover crops (minimal bare soil) | 2.9 | 1.08 | 0.8 | 0.1 |  | 7.82 | 5.19 | 6.08 | 0.97 | Increases with fertilizer use, slope, duration of open conditions, and lack of conservation tillage application.
Agric 2 (Row Crop) | Agricultural with row crops (some bare soil) | 18.6 | 4.46 | 2.2 | 0.26 |  | 79.6 | 16.09 | 9 | 2.1
Agric 3 (Grazing) | Agricultural pasture with livestock | 4.9 | 1.5 | 0.8 | 0.14 |  | 30.85 | 8.65 | 5.19 | 1.48 | Increases with animal density, slope, lack of vegetative cover, imperviousness of soils.
Agric 4 (Feedlot) | Concentrated livestock holding area | 795.2 | 300.7 | 224 | 21.28 |  | 7979.9 | 3110.7 | 2923.2 | 680.5 | Increases with animal density, slope, and lack of manure management practices.
Forest 1 (Upland) | Land with tree canopy over upland soils and vegetation | 0.83 | 0.24 | 0.2 | 0.02 |  | 6.26 | 2.86 | 2.46 | 1.38 | Increases with decreased canopy layer, ground cover, or soil permeability, and with increased slope.
Forest 2 | see below - additional sources (NH)
Forest 3 (Mixed) | see below - additional sources (NH)
Forest 4 (Wetland) | Land with tree canopy over wetland soils and vegetation | 0.83 | 0.24 | 0.2 | 0.02 |  | 6.26 | 2.86 | 2.46 | 1.38 | Increases with greater channelization of flows, slope, flushing effect and pH.
Open 1 (Wetland/Lake) | Open wetland or lake area (no substantial canopy) | 0.83 | 0.24 | 0.2 | 0.02 |  | 6.26 | 2.86 | 2.46 | 1.38 | Increases with decreased detention time, increased pH.
Open 2 (Meadow) | Open meadow area (no clearly wetland, but no canopy) | 0.83 | 0.24 | 0.2 | 0.02 |  | 6.26 | 2.86 | 2.46 | 1.38 | Increases with decreased ground cover and increased slope.
Open 3 (Barren) | Mining or construction areas, largely bare soils | 4.9 | 1.5 | 0.8 | 0.14 |  | 30.85 | 8.65 | 5.19 | 1.48 | Increases with increased slope and lack of depression area storage.
Other 1 | Define: | 0.83 | 0.24 | 0.2 | 0.02 |  | 6.26 | 2.86 | 2.46 | 1.38
Other 2 | Define: | 6.23 | 1.91 | 1.1 | 0.19 |  | 38.47 | 9.97 | 5.5 | 1.48
Other 3 | Define: | 18.6 | 4.46 | 2.2 | 0.26 |  | 79.6 | 16.09 | 9 | 2.1
PHOSPHORUS AND NITROGEN EXPORT COEFFICIENTS FOR BASEFLOW
|  | PHOSPHORUS EXPORT (KG/HA/YR) |  |  |  |  | NITROGEN EXPORT (KG/HA/YR)
LAND USES |  | MAXIMUM | MEAN | MEDIAN | MINIMUM | SOURCE | MAXIMUM | MEAN | MEDIAN | MINIMUM
Urban 1 (LDR) | Low density residential (>1 ac lots) | 0.05 | 0.01 | 0.01 | 0.001 | Uttormark et al. 1974, Mitchell et al. 1989, Miller et al. 1997, AECOM Unpublished Data, some reliance on runoff references as well | 20 | 5 | 5 | 1 | P increases mainly with soil permeability and higher ground water table. N increases mainly with presence of on-site wastewater disposal systems and decreases with dilution from rainfall or uncontaminated water inputs.
Urban 2 (MDR/Hwy) | Medium density residential (0.3-0.9 ac lots) + highway corridors | 0.05 | 0.01 | 0.01 | 0.001 |  | 40 | 10 | 10 | 2
Urban 3 (HDR/Com) | High density residential (<0.3 ac lots) + commercial | 0.05 | 0.01 | 0.01 | 0.001 |  | 80 | 20 | 20 | 4
Urban 4 (Ind) | Industrial | 0.05 | 0.01 | 0.01 | 0.001 |  | 20 | 5 | 5 | 1
Urban 5 (P/I/R/C) | Park, Institutional, Recreational or Cemetery | 0.05 | 0.01 | 0.01 | 0.001 |  | 20 | 5 | 5 | 1
Agric 1 (Cvr Crop) | Agricultural with cover crops (minimal bare soil) | 0.05 | 0.01 | 0.01 | 0.001 |  | 10 | 2.5 | 2.5 | 0.5 | Increases with fertilizer use, soil permeability, flushing from irrigation.
Agric 2 (Row Crop) | Agricultural with row crops (some bare soil) | 0.05 | 0.01 | 0.01 | 0.001 |  | 10 | 2.5 | 2.5 | 0.5
Agric 3 (Grazing) | Agricultural pasture with livestock | 0.05 | 0.01 | 0.01 | 0.001 |  | 20 | 5 | 5 | 1 | Increases with animal density and duration of use, soil permeability.
Agric 4 (Feedlot) | Concentrated livestock holding area | 0.1 | 0.03 | 0.03 | 0.001 |  | 100 | 25 | 25 | 5 | Increases with animal density and duration of use, lack of manure handling techniques, increased soil permeability.
Forest 1 (Upland) | Land with tree canopy over upland soils and vegetation | 0.01 | 0.004 | 0.004 | 0.001 |  | 1 | 0.5 | 0.5 | 0.05 | Increases with increased soil permeability, high water table and groundwater anoxia.
Forest 2 (Wetland) | Land with tree canopy over wetland soils and vegetation | 0.01 | 0.004 | 0.004 | 0.001 |  | 1 | 0.5 | 0.5 | 0.05 | Increases with increased soil permeability, high water table and groundwater anoxia.
Open 1 (Wetland/Lake) | Open wetland or lake area (no substantial canopy) | 0.01 | 0.004 | 0.004 | 0.001 |  | 1 | 0.5 | 0.5 | 0.05 | Increases with increased baseflow through area.
Open 2 (Meadow) | Open meadow area (no clearly wetland, but no canopy) | 0.01 | 0.004 | 0.004 | 0.001 |  | 1 | 0.5 | 0.5 | 0.05 | Increases with increased soil permeability, high water table and groundwater anoxia.
Open 3 (Barren) | Mining or construction areas, largely bare soils | 0.01 | 0.004 | 0.004 | 0.001 |  | 1 | 0.5 | 0.5 | 0.05 | Increases with increased soil permeability, high water table and groundwater anoxia.
Other 1 | Define: | 0.01 | 0.004 | 0.004 | 0.001 |  | 1 | 0.5 | 0.5 | 0.05
Other 2 | Define: | 0.05 | 0.01 | 0.01 | 0.001 |  | 20 | 5 | 5 | 1
Other 3 | Define: | 0.05 | 0.01 | 0.01 | 0.001 |  | 80 | 20 | 20 | 4
|  | PHOSPHORUS EXPORT (KG/HA/YR) |  |  |  |  | NITROGEN EXPORT (KG/HA/YR)
OTHER AREAL SOURCES |  | MAXIMUM | MEAN | MEDIAN | MINIMUM | SOURCE | MAXIMUM | MEAN | MEDIAN | MINIMUM
Direct Atmospheric Deposition | Wet and dry deposition from aerial sources
from Forested Area | Deposition originating in largely forested area | 0.54 | 0.27 | 0.2 | 0.07 | Reckhow et al. 1980, Dillon et al. 1991 | 11.3 | 5.96 | 6.5 | 0.99 | Increases with increased sources. However, note that contributory area is likely to be much larger than the immediate watershed, and requires consideration of regional sources and wind direction.
from Agricultural/Rural Area | Deposition originating in largely agricultural area | 0.97 | 0.45 | 0.3 | 0.12 |  | 38 | 20.98 | 13.1 | 10.49
from Urban/Industrial Area | Deposition originating in largely urban area | 3.67 | 1.27 | 1 | 0.26 |  | 24.8 | 18.51 | 21.4 | 7.4
Concord NH-DES |  |  | 0.25 |  |  | NHDES data
Central NH |  |  | 0.11 |  |  | Schloss and Craycraft 2013
Internal Loading | Release from sediments or macrophytes, oxic or anoxic | 10 | 1 | 1 | 0.1 | Nurnberg 1984, Nurnberg and LaZerte 2004, unpublished AECOM data | 10 | 1 | 1 | 0.1 | Increases with available sediment P and N (forms assessed by extraction assays) and anoxia.
| (duration of anoxia must be specified) | PHOSPHORUS EXPORT (MG/M2/YR) |  |  |  |  | NITROGEN EXPORT (MG/M2/YR)
| For calculation with # of days and areal release | 40 | 6 | 2 | 0.1 |  | 40 | 12 | 5 | 0.3
|  | PHOSPHORUS INPUT |  |  |  |  | NITROGEN INPUT
NON-AREAL SOURCES |  | MAXIMUM | MEAN | MEDIAN | MINIMUM | P SOURCE | MAXIMUM | MEAN | MEDIAN | MINIMUM
Waterfowl | Direct inputs from birds (kg/bird/yr) | 1.86 | 0.23 | 0.2 | 0.06 | Brezonik 1973, Uttormark et al. 1974, Gould & Fletcher 1978, Portnoy 1990, Manny et al. 1975, Scherer et al. 1995 | 5.8 | 1 | 0.95 | 0.48 | Increases with bird size.
Point Sources | Direct discharge from facility | [9 empty] | Varies by treatment technology and details within treatment (e.g., holding time, chemical additions).
| Wastewater - primary treatment (ppm) | 6 | 4 | 4 | 1 | Metcalf & Eddy 1991, DMR data from EPA for many WWTF | 70 | 45 | 45 | 20
| Wastewater - secondary treatment (ppm) | 4 | 2 | 2 | 0.4 |  | 10 | 5 | 5 | 1
| Wastewater - tertiary treatment (ppm) | 1 | 0.5 | 0.5 | 0.1 |  | 5 | 2 | 2 | 1
| Cooling water (ppm) | 5 | 1 | 1 | 0.05 |  | 1 | 0.05 | 0.05 | 0.02
SEPTIC SYSTEM INPUTS |  | PHOSPHORUS INPUT |  |  |  |  | NITROGEN INPUT
|  | MAXIMUM | MEAN | MEDIAN | MINIMUM | SOURCE | MAXIMUM | MEAN | MEDIAN | MINIMUM
Domestic Wastewater Inputs
| Concentration (ppm) | 15 | 8 | 8 | 4 | Metcalf & Eddy 1991 | 85 | 40 | 40 | 20 | Varies by tank sizing and leachfield features
| People per dwelling | 10 | 2.5 | 2.5 | 1
| Cubic meters of water per person per day | 0.453 | 0.246 | 0.246 | 0.132
| Days of occupancy per year | 365 | 180 | 180 | 1
| Attenuation factor (portion that reaches lake) | 0.5 | 0.1 | 0.1 | 0.01 |  | 0.95 | 0.8 | 0.8 | 0.5 | Increases with increasing soil permeability, high ground water table, anoxia.
REFERENCES
Brezonik, P.L. 1973. Nutrient Sources and Cycling in Natural Waters. EPA 660/3-73-002. Washington DC.
Clark, G.M., D.K. Mueller and M.A. Mast. 2000. Nutrient concentrations and yields in undeveloped stream basins of the United States. JAWRA 36:849-860.
Dillon, P.J., L.A. Molot and W.A. Schneider. 1991. Phosphorus and nitrogen export from forested stream catchments in central Ontario. J. Environ. Quality 20:857-864.
Dunn, T. and L.B. Leopold. 1978. Water in Environmental Planning. W.H. Freeman and Company, San Francisco, CA
Frink, C. 1991. Estimating nutrient exports to estuaries. J. Environ. Quality 20:717-724.
Gould, D.J. & M.R. Fletcher. 1978. Gull droppings and their effects on water quality. Wat. Res. 12: 665-672.
Higgins, G.R. and J.M. Colonell. 1970. Hydrologic Factors in the Determination of Watershed Yields. Publication #20. WRRC, UMASS, Amherst, MA.
Line, D.E., W.A. Harman and G.D. Jennings. 1998. Comparing sampling schemes for monitoring pollutant export from a dairy pasture. JAWRA 34:1265-1273
Manny, B.A., R. G. Wetzel & W. C. Johnson. 1975. Annual contribution of carbon, nitrogen and phosphorus by migrant Canada geese to a hardwater Pond. Verh. Int. Ver. Limnol. 19: 949-951.
Metcalf & Eddy, Inc. 1991. 3rd ed. Wastewater Engineering Treatment, Disposal and Reuse. Tchobanoglous, G. and F.L. Burton. McGraw-Hill, Inc.: New York.
Miller, C.V., J.M. Dennis, S.W. Ator and J.W. Brakebill. 1997. Nutrients in streams during baseflow in selected environmental settings of the Potomac River basin. JAWRA 33:1155-1171.
Mitchell, D.F, K.J. Wagner, W.J. Monagle, and G.A. Beluzo. 1989. Pond and Reservoir Management. 5:121-128.
Nurnberg, G.K. 1984. The prediction of internal phosphorus load in lakes with anoxic hypolimnia. Limnol. Oceanogr. 29:111-124
Nurnberg, G.K. and B. LaZerte. 2004. Modeling the effect of development on internal phosphorus load in nutrient-poor lakes. Wat. Resour. Res. 40:W01105, doi:10.1029/2003WR002410.
Omernik, J.M. 1976. The influence of land use on stream nutrient levels. EPA-600/3-76-014. USEPA, Corvallis, OR.
Portnoy. J.W. 1990. Gull contribution of P & N to a Cape Cod Kettle pond. Hydrobiologia. 202: 61-69.
Reckhow, K.H., M.N. Beaulac, and J.T. Simpson. 1980. Modeling phosphorus loading and Pond response under uncertainty: a manual and compilation of export coefficients. EPA 440/5-80-011, US-EPA, Washington, D.C.
Rohm, C.M., J.A. Omernik, A.J. Woods, and J.L. Stoddard. 2002. Regional characteristics of nutrient concentrations in streams and their application to nutrient criteria development. JAWRA 38:213-239.
Scherer, N.M., H.L. Gibbons, K.B. Stoops & M. Muller. 1995. Phosphorus loading of an urban Pond by bird droppings. Pond and Reserv. Manage. 11(4):317-327.
Schloss, Jeffrey A. and Robert C. Craycraft. 2013. Final Report: Newfound Lake Water Quality Modeling: September 2013. UNH Center for Freshwater Biology, UNH Cooperative Extension and UNH Center for Freshwater Biology, University of New Hampshire. Durham, NH. CFB Report # 2013-09-DES-02.
Sharpley, A.N., S.J. Smith, O.R. Jones, W.A. Berg, and G.A. Coleman. 1992. The transport of bioavailable phosphorus in agricultural runoff. J. Environ. Qual. 21:30-35.
Sopper, W.E. and H.W. Lull. 1970. Streamflow Characteristics of the Northeastern United States. Bulletin 766. Penn State Agricultural Experiment Station, University Park, PA
Uttormark, P.D., J.D. Chapin, and K.M. Green. 1974. Estimating Nutrient Loadings of Lakes from Non-Point Sources. U.S. EPA. EPA 660/3-74-020. 112pp.
P EXPORT COEFFICIENTS FOR RUNOFF- ADDITIONAL NH SOURCES
|  |  | PHOSPHORUS EXPORT (KG/HA/YR) | [5 empty] | OTHER
LAND USES | DESCRIPTION | SOURCE | MINIMUM | MAXIMUM | MEAN | MEDIAN | Q25 | Q75 | COEF USED
Agric (Hayland Non-Manure) | Hayland (Non-Manure) | Dennis and Sage 1981- ME TMDL | 0.35 | 1.35 |  |  |  |  | 0.35
Agric 4 (Hayland) | Hayland | Schloss et al. 2000-Table 5: DES, 1992, Newfound Study | [6 empty] | 0.64
Forest 1 (Mostly Deciduous) | Land with tree canopy over upland soils and vegetation | Schloss et al. 2000- Table 4-Mostly Deciduous | 0.034 | 0.973 | 0.22 | 0.152
Forest 2 (Coniferous) | Land with tree canopy over upland soils and vegetation | Schloss et al. 2000- Table 4- Non-deciduous | 0.007 | 0.138 | 0.079 | 0.093
Forest 3 (Mixed) | Land with tree canopy over upland soils and vegetation | Schloss et al. 2000- Table 4-Non-deciduous | 0.007 | 0.138 | 0.079 | 0.093
Forest 4 (Wetland) | Forested Wetland | Schloss et al. 2000-Table 4: Mixed Forest (Forest & Wetlands) | 0.003 | 0.439 | 0.116 | 0.082
Open 1 (Wetland/Pond) | Open wetland or Pond area (no substantial canopy) | Schloss et al. 2000- Table 5- NH DES & UNH Studies- Chocorua | 0.009 | 0.25 |  |  |  |  | 0.065
Urban 1 | Low density residential development | Tarpey, Patricia E. 2013. "Linking Watershed and Sub-basin Characteristics to In-lake TP Concentrations in the Lake Winnipesaukee Watershed, New Hampshire." M.S. Thesis. Plymouth State University |  |  | 0.79
Agriculture | hayfields, row crops, pasture | Tarpey, Patricia E. 2013. "Linking Watershed and Sub-basin Characteristics to In-lake TP Concentrations in the Lake Winnipesaukee Watershed, New Hampshire." M.S. Thesis. Plymouth State University |  |  | 0.37
Forest | all forest types (mixed) | Tarpey, Patricia E. 2013. "Linking Watershed and Sub-basin Characteristics to In-lake TP Concentrations in the Lake Winnipesaukee Watershed, New Hampshire." M.S. Thesis. Plymouth State University |  |  | 0.03
Source for Table 1. | Hutchinson Environmental Sciences Ltd. 2014. Managing New urban Development in Phosphorus-Sensitive Watersheds. Prepared for Nattawasaga Valley Conservation Authority.
Johnes 1996 Table
| Landcover type | P Export Coef kg/Ha/yr
| Sea/estuary | 0
| Inland water | 0
| Beach and Coastal Bare | 0
| Salt Marsh | 0
| Grass Heath | 0.02
| Mown/grazed turf | 0.2
| Meadow/verge/semi-natural | 0.2
| Bracken | 0.02
| Dense Shrub heath | 0.02
| Scrub/orchard | 0.02
| Deciduous woodland | 0.02
| Coniferous woodland | 0.02
| Tilled land | 0.66
| Suburban/rural development | 0.83
| Continuous urban | 0.83
| Inland bare ground | 0.7
| Lowland bog | 0
| Open shrub heath | 0.02
| Unclassified | 0.48
| Phosphorus Source | Export Coefficients |  | Units
| Cattle | 6.9 |  | g/head/yr
| Horses | 4.4 |  | g/head/yr
| Pigs | 20 |  | g/head/yr
| Sheep | 4.4 |  | g/head/yr
| Sewage Treatment Works | 0.38 |  | kg/ca/yr
| Septic Systems | 0.24 |  | kg/ca/yr
Source for Johnes Table | Johnes, P.J. (1996). Evaluation and management of the impact of land use change on the nitrogen and phosphorus load delivered to surface waters: the export coefficient modelling approach. Journal of Hydrology. 183:323-349.
from Feb From 2017 NH Small MS4 General Permit
Source for MS4 Table: | USEPA 2017. General Permits for Stormwater Discharges from Small Municipal Separate Storm Sewer Systems. Appendix F. Boston, MA
Golf course P runoff - 0.51 kg/ha/yr
Nutrient Load Generated by Storm Event Runoff from a Golf Course Watershed King K.W., J. C. Balogh, K. L. Hughes, and R. D. Harmel. 2007. Nutrient Load Generated by Storm Event Runoff from a Golf Course Watershed. J. Environ. Qual. 36:1021–1030

## Calculations
EXPORT MODEL INPUT AND CALCULATIONS |  |  |  | Cells shaded like this must have values entered or verified (Site Specific Factors)
LAKE NAME: |  |  |  | Cells shaded like this are notes to aid processing
SCENARIO |  |  |  | Coefficients -see Reference Variables worksheet
COEFFICIENTS
STD. WATER YIELD (CFSM) |  | Mean STD Water Yield -from USGS gages
PRECIPITATION (METERS)
% direct rainfall to lake surface that leaves lake via outlet(Precip -Evap) (%) | 0.5 | Typically 0.5 for NH
| RUNOFF EXPORT COEFF. |  |  | BASEFLOW EXPORT COEF
| Precip | P Export | N Export | Precip | P Export | N Export | Total Precip
| Coefficient | Coefficient | Coefficient | Coefficient | Coefficient | Coefficient | Retained
LAND USE | (Fraction) | (kg/ha/yr) | (kg/ha/yr) | (Fraction) | (kg/ha/yr) | (kg/ha/yr) | (fraction)
Cropland | 0.3 | 1.5 |  | 0.3 | 0.01 |  | 0.6 | NOTE: Precipitation runoff and baseflow coefficients will sum to <1.0 due to evaporation and transpiration
Pasture | 0.3 | 0.8 |  | 0.3 | 0.01 |  | 0.6
Forest | 0.2 | 0.03 |  | 0.4 | 0.004 |  | 0.6
Non-Forested Wetland | 0.05 | 0.08 |  | 0.4 | 0.004 |  | 0.45
Open Land | 0.6 | 0.8 |  | 0.3 | 0.004 |  | 0.9
Participation Recreation | 0.3 | 0.8 |  | 0.3 | 0.01 |  | 0.6
High Density Residential | 0.4 | 1.5 |  | 0.2 | 0.02 |  | 0.6
Medium Density Residential | 0.35 | 1.3 |  | 0.275 | 0.015 |  | 0.625
Low Density Residential | 0.3 | 1.1 |  | 0.25 | 0.01 |  | 0.55
Very Low Density Residential | 0.25 | 0.9 |  | 0.3 | 0.01 |  | 0.55
Commercial | 0.5 | 1.8 |  | 0.05 | 0.01 |  | 0.55
Transportation | 0.6 | 1.8 |  | 0.05 | 0.01 |  | 0.65
Waste Disposal | 0.5 | 1.1 |  | 0.05 | 0.01 |  | 0.55
Water | 0.05 | 0.009 |  | 0.4 | 0.004 |  | 0.45
Urban Public/Institutional | 0.3 | 1.1 |  | 0.3 | 0.01 |  | 0.6
Cemetery | 0.3 | 0.3 |  | 0.3 | 0.01 |  | 0.6
Orchard | 0.15 | 0.2 |  | 0.3 | 0.01 |  | 0.45
Nursery | 0.3 | 0.2 |  | 0.3 | 0.01 |  | 0.6
Forested Wetland | 0.05 | 0.03 |  | 0.4 | 0.004 |  | 0.45
Brushland/Successional | 0.25 | 0.15 |  | 0.35 | 0.004 |  | 0.6
0
0
AREAL SOURCES
| Affected | P Export | N Export | P Load | N Load | Period of | P Rate of | N Rate of | P Load | N Load
| Lake | Coefficient | Coefficient | (from coeff) | (from coeff) | Release | Release | Release | (from rate) | (from rate)
| Area (ha) | (kg/ha/yr) | (kg/ha/yr) | (kg/yr) | (kg/yr) | (days) | (mg/m2/day) | (mg/m2/day) | (kg/yr) | (kg/yr)
Direct Atmospheric Deposition |  | 0.11 |  | 0 | [6 empty] | Atmospheric Export Coeff from Newfound study
Internal Loading | 0 | 2 |  | 0 |  |  |  |  | 0 |  | Remember to change internal load reference in cell B308 to J43 if using a rate rather than an export coefficient!
NON-AREAL SOURCES
| Number of |  | P Load/Unit | N Load/Unit |  | Percent of |  | P Load |  | N Load
| Source Units |  | (kg/unit/yr) | (kg/unit/yr) |  | year |  | (kg/yr) |  | (kg/yr)
Waterfowl | 0 |  | 0.2 |  |  | 0.5 |  | 0 |  | 0 | See sheet on waterfowl calcs for source and assumptions. Default value for waterfowl is 0.2 kg/bird/yr
|  | Volume |  |  | P Conc. | N Conc. | Percent of
|  | (cu.m/yr) |  |  | (ppm) | (ppm) | Contribution | P Load |  | N Load
Point Sources | [6 empty] | P and Q | (kg/yr) |  | (kg/yr)
PS-1 |  | 0 |  |  | 0 |  | 100% | 0 | 0 | 0
PS-2 |  | 0 |  |  |  |  | 100% | 0 | 0 | 0
PS-3 |  | 0 |  |  |  |  | 100% | 0 | 0 | 0
Basin in which Point Source occurs (0=NO 1=YES)
| BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10
PS-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PS-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PS-3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DIRECT SEPTIC SYSTEM LOAD
Septic System Grouping (by occupancy or location) | Days of Occupancy/Yr | Condition | Number of Dwellings | Number of People per Dwelling | Water per Person per Day (cu.m) | P Conc. (ppm) | P Attenuation Factor | N Conc. (ppm) | N Attenuation Factor | Water Load (cu.m/yr) | P Load (kg/yr) | N Load (kg/yr)
Group 1 Septic Systems | BASIN 4: 2.5; BASIN 5: 0.25; BASIN 6: 8; BASIN 7: 0; BASIN 10: 0 | 0 | 0 | Attenuation factor determines the amount that passes through. For septics, frequently assume 10-20% for phosphorus which equates to 0.1 to 0.2 attenuation
Group 2 Septic Systems | BASIN 4: 2.5; BASIN 5: 0.25; BASIN 6: 8; BASIN 7: 0; BASIN 10: 0 | 0 | 0
Group 3 Septic Systems | BASIN 4: 2.5; BASIN 5: 0.25; BASIN 6: 8; BASIN 7: 0; BASIN 10: 0 | 0 | 0
Group 4 Septic Systems | BASIN 4: 2.5; BASIN 5: 0.25; BASIN 6: 8; BASIN 7: 0; BASIN 10: 0 | 0 | 0
Total Septic System Loading | BASIN 10: 0 | 0 | 0
BASIN AREAS
LAND USE | Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14 | TOTAL
| AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA) | AREA (HA)
Cropland | [14 empty] | 0
Pasture | [14 empty] | 0
Forest | [14 empty] | 0
Non-Forested Wetland | [14 empty] | 0
Open Land | [14 empty] | 0
Participation Recreation | [14 empty] | 0
High Density Residential | [14 empty] | 0
Medium Density Residential | [14 empty] | 0
Low Density Residential | [14 empty] | 0
Very Low Density Residential | [14 empty] | 0
Commercial | [14 empty] | 0
Transportation | [14 empty] | 0
Waste Disposal | [14 empty] | 0
Water | [14 empty] | 0
Urban Public/Institutional | [14 empty] | 0
Cemetery | [14 empty] | 0
Orchard | [14 empty] | 0
Nursery | [14 empty] | 0
Forested Wetland | [14 empty] | 0
Very Low Density Residential | [14 empty] | 0
Brushland/Successional | [14 empty] | 0
0
0
0
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER LOAD GENERATION: RUNOFF | [15 empty] | WATER LOAD GENERATION: BASEFLOW
LAND USE | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14 | TOTAL |  | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14 | TOTAL
| Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14
| (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) |  | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR)
Cropland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cropland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pasture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pasture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Forest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Non-Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Open Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Open Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Participation Recreation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Participation Recreation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | High Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Medium Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Medium Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Waste Disposal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Waste Disposal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Urban Public/Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Urban Public/Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cemetery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cemetery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orchard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Orchard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nursery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Nursery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Brushland/Successional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Brushland/Successional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | PS-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | PS-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | PS-3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL (CU.M/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL (CU.M/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL (CFS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL (CFS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LOAD GENERATION: RUNOFF P | [15 empty] | LOAD GENERATION: RUNOFF N
LAND USE | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14 | TOTAL | LAND USE | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14 | TOTAL
| Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) |  | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR)
Cropland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cropland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pasture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pasture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Forest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Non-Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Open Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Open Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Participation Recreation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Participation Recreation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | High Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Medium Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Medium Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Waste Disposal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Waste Disposal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Urban Public/Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Urban Public/Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cemetery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cemetery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orchard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Orchard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nursery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Nursery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Brushland/Successional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Brushland/Successional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LOAD GENERATION: BASEFLOW P | [15 empty] | LOAD GENERATION: BASEFLOW N
LAND USE | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14 | TOTAL | LAND USE | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14 | TOTAL
| Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) |  | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR)
Cropland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cropland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pasture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pasture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Forest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Non-Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Open Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Open Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Participation Recreation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Participation Recreation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | High Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Medium Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Medium Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Waste Disposal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Waste Disposal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Urban Public/Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Urban Public/Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cemetery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cemetery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orchard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Orchard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nursery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Nursery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Brushland/Successional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Brushland/Successional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PS-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PS-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PS-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PS-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PS-3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PS-3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROUTING PATTERN
(Basin in left hand column passes through basin in column below if indicated by a 1)
1=YES 0=NO XXX=BLANK | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14
| Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14
| (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR)
INDIVIDUAL BASIN | bar: (Basin in left hand column passes through basin in column below if indicated by a 1) BASIN 1 to (Basin in left hand column passes through basin in column below if indicated by a 1) BASIN 14
BASIN 1 OUTPUT | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 2 OUTPUT | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 3 OUTPUT | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 4 OUTPUT | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 5 OUTPUT | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 6 OUTPUT | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 7 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 8 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0
BASIN 9 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0
BASIN 10 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0
BASIN 11 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0
BASIN 12 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0
BASIN 13 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0
BASIN 14 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX
CUMULATIVE DRAINAGE AREAS
1=YES 0=NO XXX=BLANK | (Basin in left hand column passes through basin in column below if indicated by a 1) BASIN 1: (Total land area associated with routed water and nutrients)
| BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14
| Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14
| (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR)
INDIVIDUAL BASIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 1 OUTPUT | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 2 OUTPUT | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 3 OUTPUT | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 4 OUTPUT | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 5 OUTPUT | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 6 OUTPUT | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 7 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 8 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0
BASIN 9 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0
BASIN 10 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0
BASIN 11 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0
BASIN 12 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0
BASIN 13 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0
BASIN 14 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX
TOTALS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER ROUTING AND ATTENUATION
SOURCE | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14
| Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14
| (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR) | (CU.M/YR)
INDIVIDUAL BASIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 1 OUTPUT | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 2 OUTPUT | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 3 OUTPUT | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 4 OUTPUT | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 5 OUTPUT | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 6 OUTPUT | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 7 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 8 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0
BASIN 9 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0
BASIN 10 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0
BASIN 11 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0
BASIN 12 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0
BASIN 13 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0
BASIN 14 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX
CUMULATIVE TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN ATTENUATION | bar: BASIN 1 to BASIN 14
OUTPUT VOLUME | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reality Check from Flow Data
Calculated Flow / Measured Flow | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data
Reality Check from Areal Yield X Basin Area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Calculated Flow / Flow from Areal Yield | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
LOAD ROUTING AND ATTENUATION: PHOSPHORUS | [15 empty] | LOAD ROUTING AND ATTENUATION: NITROGEN
| BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14 |  |  | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14
| Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) |  |  | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR) | (KG/YR)
BASIN 1 INDIVIDUAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 1 INDIVIDUAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 1 OUTPUT | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 1 OUTPUT | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 2 OUTPUT | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 2 OUTPUT | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 3 OUTPUT | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 3 OUTPUT | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 4 OUTPUT | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 4 OUTPUT | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 5 OUTPUT | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 5 OUTPUT | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 6 OUTPUT | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 6 OUTPUT | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 7 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 7 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN 8 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0 |  | BASIN 8 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 | 0
BASIN 9 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0 |  | BASIN 9 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 | 0
BASIN 10 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0 |  | BASIN 10 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 | 0
BASIN 11 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0 |  | BASIN 11 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 | 0
BASIN 12 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0 |  | BASIN 12 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 | 0
BASIN 13 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0 |  | BASIN 13 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX | 0
BASIN 14 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX |  | BASIN 14 OUTPUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XXX
CUMULATIVE TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | CUMULATIVE TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BASIN ATTENUATION | [15 empty] | BASIN ATTENUATION | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: BASIN 1 to BASIN 14
OUTPUT LOAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | OUTPUT LOAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LOAD AND CONCENTRATION SUMMARY: PHOSPHORUS | [15 empty] | LOAD AND CONCENTRATION SUMMARY: NITROGEN
| BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14 |  |  | BASIN 1 | BASIN 2 | BASIN 3 | BASIN 4 | BASIN 5 | BASIN 6 | BASIN 7 | BASIN 8 | BASIN 9 | BASIN 10 | BASIN 11 | BASIN 12 | BASIN 13 | BASIN 14
| Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OUTPUT (CU.M/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | OUTPUT (CU.M/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OUTPUT (KG/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | OUTPUT (KG/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OUTPUT (MG/L) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | OUTPUT (MG/L) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
REALITY CHECK CONC. (median) | [15 empty] | REALITY CHECK CONC. (median)
CALCULATED CONC./MEASURED CONC. | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data |  | CALCULATED CONC./MEASURED CONC. | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data | no data
BASIN EXPORT COEFFICIENT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | BASIN EXPORT COEFFICIENT | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
TERMINAL DISCHARGE? | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |  | TERMINAL DISCHARGE? | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
LOAD TO RESOURCE | [14 empty] | TOTAL | LOAD TO RESOURCE | [14 empty] | TOTAL
WATER (CU.M/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WATER (CU.M/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PHOSPHORUS (KG/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NITROGEN (KG/YR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PHOSPHORUS (MG/L) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | NITROGEN (MG/L) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
LOAD SUMMARY | bar: BASIN 1 to BASIN 2
DIRECT LOADS TO LAKE | BASIN 1: P (KG/YR); BASIN 2: N (KG/YR); BASIN 3: WATER (CU.M/YR)
ATMOSPHERIC | BASIN 1: 0; BASIN 2: 0; BASIN 3: 0; BASIN 4: direct precip to lake surface minus evaporation
INTERNAL | BASIN 1: 0; BASIN 2: 0; BASIN 3: 0
WATERFOWL | BASIN 1: 0; BASIN 2: 0; BASIN 3: 0
SEPTIC SYSTEM | BASIN 1: 0; BASIN 2: 0; BASIN 3: 0
WATERSHED LOAD | BASIN 1: 0; BASIN 2: 0; BASIN 3: 0
TOTAL LOAD TO LAKE (Watershed + direct loads) | BASIN 1: 0; BASIN 2: 0; BASIN 3: 0
TOTAL INPUT CONC. (MG/L) | BASIN 1: #DIV/0!; BASIN 2: #DIV/0!
Note on A296: Critical input for proper routing
Note on S296: Critical input for proper routing

## Predictions
IN-LAKE MODELS FOR PREDICTING CONCENTRATIONS: Current Conditions
THE MODELS
THE TERMS | [5 empty] | PHOSPHORUS |  |  |  |  | PREDICTED CHL AND WATER CLARITY
| PHOSPHORUS | [6 empty] | PRED. | PERMIS. | CRITICAL
[8 empty] | CONC. | CONC. | CONC.
SYMBOL | PARAMETER | UNITS | DERIVATION | VALUE |  | NAME | FORMULA | (ppb) | (ppb) | (ppb) | MODEL | Value | Mean | Measured |  |  | Bloom freq. calc. (Walker 1984)
TP | Lake Total Phosphorus Conc. | ppb | From in-lake models | To Be Predicted |  | Mass Balance | TP=L/(Z(F))*1000 | #DIV/0!
KG | Phosphorus Load to Lake | kg/yr | From export model | 0 |  | (Maximum Conc.) |  |  |  |  | Mean Chlorophyll (ug/L)
L | Phosphorus Load to Lake | g P/m2/yr | KG*1000/A | #DIV/0! |  | Kirchner-Dillon 1975 | TP=L(1-Rp)/(Z(F))*1000 | #DIV/0! | #DIV/0! | #DIV/0! | Carlson 1977 | #DIV/0!
TPin | Influent (Inflow) Total Phosphorus | ppb | From export model | #DIV/0! |  | (K-D) |  |  |  |  | Dillon and Rigler 1974 | #DIV/0!
TPout | Effluent (Outlet) Total Phosphorus | ppb | From data, if available |  | Enter Value (TP out) | Vollenweider 1975 | TP=L/(Z(S+F))*1000 | #DIV/0! | #DIV/0! | #DIV/0! | Jones and Bachmann 1976 | #DIV/0!
I | Inflow | m3/yr | From export model | 0 |  | (V) |  |  |  |  | Oglesby and Schaffner 1978 | #DIV/0!
A | Lake Area | m2 | From data |  | Enter Value (A) | Larsen-Mercier 1976 | TP=L(1-Rlm)/(Z(F))*1000 | #DIV/0! | #DIV/0! | #DIV/0! | Modified Vollenweider 1982 | #DIV/0! |  |  |  | ln(std dev of C) | Threshold level | Z* | Normsdist | Freq.
V | Lake Volume | m3 | From data |  | Enter Value (V) | (L-M) |  |  |  |  | NH DES 2009 | #DIV/0! | #DIV/0! |  | core |  | ppb
Z | Mean Depth | m | Volume/area | #DIV/0! |  | Jones-Bachmann 1976 | TP=0.84(L)/(Z(0.65+F))*1000 | #DIV/0! | #DIV/0! | #DIV/0! | Peak Chlorophyll (ug/L) |  |  |  |  | 0.5 | 10 | #DIV/0! | #DIV/0! | #DIV/0!
F | Flushing Rate | flushings/yr | Inflow/volume | #DIV/0! |  | (J-B) |  |  |  |  | Modified Vollenweider (TP) 1982 | #DIV/0! |  |  |  | 0.5 | 15 | #DIV/0! | #DIV/0! | #DIV/0!
S | Suspended Fraction | no units | Effluent TP/Influent TP | #DIV/0! |  | Reckhow General (1977) | TP=L/(11.6+1.2(Z(F)))*1000 | #DIV/0! | #DIV/0! | #DIV/0! | Vollenweider (CHL) 1982 | #DIV/0! |  |  |  | 0.5 | 20 | #DIV/0! | #DIV/0! | #DIV/0!
Qs | Areal Water Load | m/yr | Z(F) | #DIV/0! |  | (Rg) |  |  |  |  | Modified Jones, Rast and Lee 1979 | #DIV/0! | #DIV/0! |  | core | 0.5 | 30 | #DIV/0! | #DIV/0! | #DIV/0!
Vs | Settling Velocity | m | Z(S) | #DIV/0! |  | Nurnberg (1998) | TP=(L/Z(F))(1-(15/(18+Z(F)))) * 1000 | #DIV/0! | #DIV/0! | #DIV/0! | Secchi Transparency (M) |  |  |  |  | 0.5 | 40 | #DIV/0! | #DIV/0! | #DIV/0!
Rp | Retention Coefficient (settling rate) | no units | ((Vs+13.2)/2)/(((Vs+13.2)/2)+Qs) | #DIV/0! |  | (N) |  |  |  |  | Oglesby and Schaffner 1978 (Avg) | #DIV/0!
Rlm | Retention Coefficient (flushing rate) | no units | 1/(1+F^0.5) | #DIV/0! | [6 empty] | Modified Vollenweider 1982 (Max) | #DIV/0!
[6 empty] | Average of Model Values |  | #DIV/0! | #DIV/0! | #DIV/0!
[6 empty] | (without mass balance) |  |  |  |  | Bloom Probability (Walker 1984)
[6 empty] | Measured Value | mean |  |  |  | Probability of Chl >10 ug/L (% of time) | #DIV/0!
[6 empty] | (mean, median, other) | median |  |  |  | Probability of Chl >15 ug/L (% of time) | #DIV/0!
[7 empty] | 20% greater than mean (sample time correction) |  |  |  | Probability of Chl >20 ug/L (% of time) | #DIV/0!
[6 empty] | From Vollenweider 1968 |  |  |  |  | Probability of Chl >30 ug/L (% of time) | #DIV/0!
[6 empty] | Permissible Load (g/m2/yr) | Lp=10^(0.501503(log(Z(F)))-1.0018) | #DIV/0! |  |  | Probability of Chl >40 ug/L (% of time) | #DIV/0!
[6 empty] | Critical Load (g/m2/yr) | Lc=2(Cp) | #DIV/0!
| NITROGEN | [5 empty] | NITROGEN
SYMBOL | PARAMETER | UNITS | DERIVATION | VALUE |  | Mass Balance | TN=L/(Z(F))*1000 | #DIV/0!
TN | Lake Total Nitrogen Conc. | ppb | From in-lake models | To Be Predicted | Dependent Variable | (Maximum Conc.)
KG | Nitrogen Load to Lake | kg/yr | From export model | 0
L1 | Nitrogen Load to Lake | g N/m2/yr | KG*1000/A | #DIV/0! |  | Bachmann 1980 | TN=L/(Z(C1+F))*1000 | #DIV/0!
L2 | Nitrogen Load to Lake | mg N/m2/yr | KG*1000000/A | #DIV/0! |  | Bachmann 1980 | TN=L/(Z(C2+F))*1000 | #DIV/0!
C1 | Coefficient of Attenuation, from F | fraction/yr | 2.7183^(0.5541(ln(F))-0.367) | #DIV/0! |  | Bachmann 1980 | TN=L/(Z(C3+F))*1000 | #DIV/0! | #DIV/0!
C2 | Coefficient of Attenuation, from L | fraction/yr | 2.7183^(0.71(ln(L2))-6.426) | #DIV/0!
C3 | Coefficient of Attenuation, from L/Z | fraction/yr | 2.7183^(0.594(ln(L2/Z))-4.144) | #DIV/0! |  | Reality Check Conc.
REFERENCES
Bachmann 1980
Carlson, R. 1977. A Trophic State Index for Lakes. Limnol. and Oceanogr. 22:261-369 Mifflin Co., NY.
Dillon, P.J. and F.H. Rigler. 1974. The Phosphorus-Chlorophyll Relationship in Lakes. Limnol. Oceanogr. 19:767-773.
Jones, J. and R. Bachmann. 1976. Prediction of Phosphorus and Chlorophyll Levels in Lakes. JWPCF 48:2176-2184.
Jones, R.A., W. Rast and G.F. Lee. 1979. Relationship between summer mean and summer maximum chlorophyll a concentrations in lakes. Env. Sci. & Technol. 13:869-870.
Kirchner, W. and P. Dillon. 1975. An Empirical Method of Estimating the Retention of Phosphorus in Lakes. Water Resourc. Res. 11:182-183.
Larsen, D. and H. Mercier. 1976. Phosphorus Retention Capacity of Lakes. J. Fish. Res. Bd. Can. 33:1742-1750.
Oglesby, R.T. and W.R. Schaffner. 1978. Phosphorus Loadings to Lakes and some of their responses. Part 2. Regression Models of Summer Phytoplankton Standing Crops, Winter Total P, and Transparency of New York Lakes with Phosphorus Loadings. Limnol. Oceanogr. 23:135-145.
Reckhow, K. 1977. Phosphorus Models for Lake Management. Ph.D. Dissertation, Harvard University, Cambridge, MA.
From Vollenweider 1968
Vollenweider, R.A. 1975. Input-output models with special references to the phosphorus loading concept in limnology. Schweiz. Z. Hydrol. 37:53-62.
Vollenweider, R. 1982. Eutrophication of Waters: Monitoring, Assessment and Control. OECD, Paris.
Walker. W.W. 1984. Statistical bases for mean chlorophyll-a criteria. Pages 57-62 in Lake and Reservoir Management – Practical Applications. Proceedings of the 4th annual NALMS symposium. USEPA, Washington, DC
Nurnberg, G. 1998. Prediction of annual and seasonal phosphorus concentrations in stratified and polymictic lakes. Limnol. Oceanogr., 43(7), 1544-1552.
NHDES 2009. Assessment of Chlorophyll-a and Phosphorus in New Hampshire Lakes for Nutrient Criteria Development. Concord, NH

## Graphics
Graphics and Tables

## Internal load calcs
There are a number of ways to calculate internal load. One such method is provided below. Document the method used in this worksheet and use the resultant load in the calculations sheet.
Internal load calculation from hypolimnetic accumulation of TP
| Pre-stratification water column TP concentration1 | September hypolimnetic TP concentration | Accumulated TP | volume of hypolimnion1 | Hypolimnetic TP mass accumulation | Adjustment for particulate vs dissolved2 | Internal load
| ug/l | ug/l | ug/l | liters | kg | % fraction | kg/yr
| 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes,
1 September epilimnetic TP concentration can be used if early season data are not available. Ideally, concentration at spring turnover would be used.
2 volume of hypolimnion below ___ meters used
3 adjustment factor assumes that __% of TP in hypolimnion is particulate and came from epilimnion

## WQ Table
Water quality and quantity data and summary statistics are found in this worksheet.
In-lake Water Quality Data (these data are to be used for model calibration)
[5 empty] | epi | hypo | mean/core
Date | Station | Time | Secchi | Chlor a | total P | total P | total P
|  |  | (meters) | (ug/L) | (ug/L) | (ug/L) | (ug/L)
Tributary Water Quality Data (these data are to be used for model calibration, if available)
Date | Station | Time | Flow | total P | Annual P load
|  |  | (cu M/yr) | (ug/L) | (kg)

## Water and TP Loading
Table ____. TP inputs by source, , scenario. |  |  | Table ____. Water inputs by source, , scenario.
TP INPUTS | Modeled Current TP Loading (kg/yr) | % of Total Load | WATER BUDGET | M3/YR
Atmospheric | 0 | #DIV/0! | ATMOSPHERIC | 0
Internal | 0 | #DIV/0! | INTERNAL | 0
Waterfowl | 0 | #DIV/0! | WATERFOWL | 0
Septic Systems | 0 | #DIV/0! | SEPTIC SYSTEM | 0
Watershed 1 - | 0 | #DIV/0! | WATERSHED LOAD | 0
Watershed 2 - | 0 | #DIV/0! | TOTAL LOAD TO LAKE (Watershed + direct loads) | 0
Watershed 3 - | 0 | #DIV/0!
Watershed 4 - | 0 | #DIV/0!
Watershed 5 - | 0 | #DIV/0!
Watershed 6 - | 0 | #DIV/0!
Watershed 7 - | 0 | #DIV/0!
Watershed 8 - | 0 | #DIV/0!
Watershed 9 - | 0 | #DIV/0!
Watershed 10 - | 0 | #DIV/0!
Watershed 11 - | 0 | #DIV/0!
Watershed 12 - | 0 | #DIV/0!
Watershed 13 - | 0 | #DIV/0!
Watershed 14 - | 0 | #DIV/0!
Watershed Total | 0 | #DIV/0!
Total | 0 | #DIV/0!
Aerial Basis | TP load (kg/ha/yr)
Watershed 1 - | #DIV/0!
Watershed 2 - | #DIV/0!
Watershed 3 - | #DIV/0!
Watershed 4 - | #DIV/0!
Watershed 5 - | #DIV/0!
Watershed 6 - | #DIV/0!
Watershed 7 - | #DIV/0!
Watershed 8 - | #DIV/0!
Watershed 9 - | #DIV/0!
Watershed 10 - | #DIV/0!
Watershed 11 - | #DIV/0!
Watershed 12 - | #DIV/0!
Watershed 13 - | #DIV/0!
Watershed 14 - | #DIV/0!

## Land Use
Land Use Categories by Subwatersheds
Area (Hectares)
LAND USE | Watershed 1 | Watershed 2 | Watershed 3 | Watershed 4 | Watershed 5 | Watershed 6 | Watershed 7 | Watershed 8 | Watershed 9 | Watershed 10 | Watershed 11 | Watershed 12 | Watershed 13 | Watershed 14 | TOTAL | Percentage
Cropland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Pasture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Forest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Non-Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Open Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Participation Recreation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
High Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Medium Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Waste Disposal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Urban Public/Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Cemetery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Orchard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Nursery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Forested Wetland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Very Low Density Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Brushland/Successional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
[13 empty] | Watershed Total |  | 0 | #DIV/0!

## Runoff-Baseflow Fractions
Runoff and baseflow fraction ranges for
| Low | Med | High
Baseflow fraction
Runoff fraction
Table ____. Runoff and baseflow fractions, , scenario.
LAND USE | Runoff Fraction | Baseflow Fraction
Cropland | 0.3 | 0.3
Pasture | 0.3 | 0.3
Forest | 0.2 | 0.4
Non-Forested Wetland | 0.05 | 0.4
Open Land | 0.6 | 0.3
Participation Recreation | 0.3 | 0.3
High Density Residential | 0.4 | 0.2
Medium Density Residential | 0.35 | 0.275
Low Density Residential | 0.3 | 0.25
Very Low Density Residential | 0.25 | 0.3
Commercial | 0.5 | 0.05
Transportation | 0.6 | 0.05
Waste Disposal | 0.5 | 0.05
Water | 0.05 | 0.4
Urban Public/Institutional | 0.3 | 0.3
Cemetery | 0.3 | 0.3
Orchard | 0.15 | 0.3
Nursery | 0.3 | 0.3
Forested Wetland | 0.05 | 0.4
Brushland/Successional | 0.25 | 0.35

## LU Coef
Table ____. Land use export coefficients (kg/ha/yr) used in loading model, scenario.
LLRM Land Use | Runoff P export coefficient range | Runoff P export coefficient used | Source | Baseflow P export coefficient range | Baseflow P export coefficient used | Source
Cropland |  | 1.5 |  | 0.01
Pasture |  | 0.8 |  | 0.01
Forest |  | 0.03 |  | 0.004
Non-Forested Wetland |  | 0.08 |  | 0.004
Open Land |  | 0.8 |  | 0.004
Participation Recreation |  | 0.8 |  | 0.01
High Density Residential |  | 1.5 |  | 0.02
Medium Density Residential |  | 1.3 |  | 0.015
Low Density Residential |  | 1.1 |  | 0.01
Very Low Density Residential |  | 0.9 |  | 0.01
Commercial |  | 1.8 |  | 0.01
Transportation |  | 1.8 |  | 0.01
Waste Disposal |  | 1.1 |  | 0.01
Water |  | 0.009 |  | 0.004
Urban Public/Institutional |  | 1.1 |  | 0.01
Cemetery |  | 0.3 |  | 0.01
Orchard |  | 0.2 |  | 0.01
Nursery |  | 0.2 |  | 0.01
Forested Wetland |  | 0.03 |  | 0.004
Brushland/Successional |  | 0.15 |  | 0.004

## Septic
Table ____. Septic inputs to loading model, , scenario.
Category | # of Dwellings | People/ Dwelling | TP Atten Factor | Mean TP Conc (mg/L) | P Load (kg/yr) | Water (cu. m/day) | # of Days | Water Load (m3/yr)
Year Round Residential New or Upgraded Septics | 0 | 2.5 | 0 | 8 | 0 | 0.25 | 0 | 0
Year Round Residential Old Septics | 0 | 2.5 | 0 | 8 | 0 | 0.25 | 0 | 0
Seasonal Residential New or Upgraded Septics | 0 | 2.5 | 0 | 8 | 0 | 0.25 | 0 | 0
Seasonal Residential Old Septics | 0 | 2.5 | 0 | 8 | 0 | 0.25 | 0 | 0
Total Septic System Loading |  |  |  |  | 0 |  |  | 0

## Waterfowl calculations
Waterfowl loading calculations should be entered in this spreadsheet. Method of calculation will vary depending on data available.
| Ducks | Geese | Gulls | Other
Number of waterfowl
Daily dry weight of droppings
Days present
Annual dry weight of droppings
P content of feces (% of dry weight)
P content of feces (1.87% of dry weight) (Scherer et. al 1995)